# SAFE USE OF PERSONAL ELECTRICAL ITEMS POLICY | ADOPTED SEPTEMBER 2026

| Policy | Date & Minute |
| --- | --- |
| Adopted | 24.09.26 Min No 71/26 C |
| Reviewed |  |
| Review | Annually |

## Introduction

## Elmton with Creswell Parish Council recognises the potential fire safety risk associated with the use of personal electrical items on site.  This policy is written in accordance with the Council’s Fire Risk Assessment.

## Failure to maintain portable electrical equipment adequately is a major cause of electrical

## accidents.  All mains powered company-owned electrical items supplied by the Parish Council

## with a plug are ‘Portable Appliance Tested’ (PAT) regularly to minimise risk from electrocution

## and fire.

## 2. Personal Electrical Items

## Personal electrical items are any mains-powered items which belong to the employee.  These

## items are not permitted to be plugged in on site by any person, with the exception of a mobile

## phone charger, on the proviso that this has been PAT tested.

## The Parish Council provides sufficient supply of electrical items for employees to undertake

## their work and aid people’s day-to-day working activities, negating the need for any personal

## items to be brought in – with the exception above. Should employees feel they require the

## use of any other personal items, please consult the Clerk for the request to be considered. If

## permitted, the item must be PAT tested prior to its use on ECPC premises.

## 3. Usage of All Electrical Items

## It is a requirement for the user to inspect all electrical items before use – whether they belong

## to ECPC or to the person - to minimise risk by identifying any potential hazards (such as split or frayed cables or casing, damaged plugs or connectors etc).  Battery powered company-owned electrical items supplied by the Parish Council should also be inspected for fault before use (battery leaking or excessive heat build-up etc). Any defects should be reported to the Clerk.

## Contractors and Hirers bringing electrical items on site must inspect them for faults and have

## their equipment PAT tested (if required) prior to use, as stipulated in the Hall Hire Terms &

## Conditions.